Mac Setup (for IOS Testing)

note: only applicable for V&V Tx Team (not for building app)

Contents

Requirements	1

Short Intro to Using Mac	1

Installing Xcode	1

Installing Appium	3

Installing App on Device	6

Running Tests	8

Common Issues	8

Resources	9

# Requirements

- Mac Mini

- iOS Device

- Apple ID

# Short Intro to Using Mac

- Opening terminal

  - Finder  > Utilities > Terminal

- Accessing Z drive

  - Finder > Go > Connect to Server > smb://<username>@dexcom.dexcominc.com/dexcomdata/eng6340/softwaretesting

  - Enter your Dexcom credentials

# Installing Xcode

- Check the OS version of the Mac

  - Menu bar > Apple icon > About this Mac

- Check the iOS version of the device

  - Settings > General > About > Version

- Check the compatibility table

  - https://en.wikipedia.org/wiki/Xcode#Xcode_7.0_-_10.x_(since_Free_On-Device_Development)

  - Note these columns:

    - Version

    - Min macOS to run

    - iOS SDK included

  - Example: OS (10.13.4) and iOS (10.3.1)

    - OS version 10.13.4 means that Xcode version should be 9.4.1 –

    - iOS version 10.3.1 means that Xcode version should be 9.0 +

    - So, Xcode versions 9.0 to 9.4.1 are compatible for testing

    - Note: try to install the latest version that the mac mini can support

  - If there are no Xcode versions compatible (choose one)

    - Get another device with a lower iOS version

    - Upgrade the mac mini’s OS (ask IT)

    - Get another mac mini with a higher OS version

- Download the Xcode installer with the correct version

  - https://developer.apple.com/download/more

- Install XCode (choose one)

  - GUI method

    - DMG (disc image) file

      - Mount the disc by double clicking the file

      - In the new window, drag the Xcode app to the Applications folder (see picture below)

      - Unmount the disc by left clicking the icon on the desktop and selecting Eject

    - XIP (signed zip) file

      - Unzip the package by double clicking the file

      - Copy the file to the Applications folder (using Finder)

      - Optional: delete the file

  - Terminal method

    - DMG file

      - hdiutil attach <path_to_dmg_file>

      - sudo cp -r /Volumes/Xcode/Xcode.app /Applications

        - Note: there should be no forward slash after Applications

      - hdiutil unmount /Volumes/Xcode/

    - XIP file

      - xip -x <path_to_xip_file>

      - sudo mv XCode.app /Applications

- Configure Xcode

  - Open Terminal

  - Run the commands:

    - sudo xcode-select -s /Applications/Xcode.app/Contents/Developer

      - This points the executable to the installer Xcode (similar to adding to the environment path variable in Windows)

    - sudo xcodebuild -license accept

# Installing Appium

- Open Terminal

- Install Appium and its dependencies (run the following commands)

  - echo | ruby -e “$(curl -fsSL https://raw.githubusercontent.com/Homebrew/install/master/install)”

    - This installs Homebrew, an installation manager (used to install other dependencies easily)

  - brew cask install java

  - brew install node

  - npm install -g appium

  - brew install carthage

  - npm install --global --unsafe-perm=true ios-deploy

    - Note: if the OS version is below 10.11, the unsafe-perm flag is optional

  - brew install ios-webkit-debug-proxy

  - ln -s /usr/local/Cellar/ios-webkit-debug-proxy/1.8.3/bin/ios_webkit_debug_proxy /usr/local/bin/ios-webkit-debug-proxy

    - This links the command ios-webkit-debug-proxy to the installed package (uses hyphens instead of underscores)

- Configure Appium’s WebDriverAgent (WDA) project (run the following commands)

  - cd /usr/local/lib/node_modules/appium/node_modules/appium-xcuitest-driver/WebDriverAgent

  - ./Scripts/bootstrap.sh -d

  - mkdir –p Resources/WebDriverAgent.bundle

- Add the Apple ID to XCode

  - Open Xcode

  - Sign into the Apple ID account

    - Menu bar > Xcode > Preferences > Accounts > Plus sign

    - Note: an Apple ID can only be used up to a max of 5 mac minis

- Build the WDA project (choose one)

  - Terminal method (only available for Xcode version 9.0+)

    - Open the Terminal

    - cd /usr/local/lib/node_modules/appium/node_modules/appium-xcuitest-driver/WebDriverAgent

    - xcodebuild -project WebDriverAgent.xcodeproj       -scheme WebDriverAgentRunner -configuration Debug   -allowProvisioningUpdates PRODUCT_BUNDLE_IDENTIFIER=<bundle_identifier> DEVELOPMENT_TEAM=<10_character_dev_team_id> CODE_SIGN_STYLE=”automatic”

      - bundle_identifier = “com.<apple_id>.WebDriverAgentRunner”

      - 10_character_dev_team_id can be found in Finder > Applications > Utilities > Keychain Access > iPhone Developer Certificate (see picture below)

    - The full path to the WDARunner app should be /usr/local/lib/node_modules/appium/node_modules/appium-xcuitest-driver/WebDriverAgent/build/Release-iphoneos/WebDriverAgentRunner-Runner.app

      - If not, check the logs (should be listed in the last few line)

  - GUI method

    - Open the WDA project

      - Open another project… > Favorites > macOS HD

      - Show hidden files by pressing Command + Shift + .

      - Navigate to /usr/local/lib/node_modules/appium/node_modules/appium-xcuitest-driver/WebDriverAgent

      - Open the project WebDriverAgent.xcodeproj

    - In the left panel, select the WebDriverAgent project (first item) (see picture below)

    - Change the following:

      - Bundle Identifier – replace facebook with anything else (like the apple ID)

      - Select Automatically manage signing

        - This will combine the debug and release signing sections

      - Team – select your Apple ID

    - Do step iii. for WebDriverAgentRunner (select in upper left red box in picture)

      - Note: Bundle Identifier will be in Build Settings instead of General and will be named Product Bundle Identifier

    - Build the WDA Runner

      - Set the target (in the upper left corner of the window, beside the phone icon) as WebDriverAgentRunner

      - Click the play button

    - Verify the build is successful (see picture below)

      - Open the logs (chat bubble icon)

      - Select All Messages

      - Select WebDriverAgentRunner > Build in the left panel

      - Verify that the last line “Sign WebDriverAgentRunner.app …“ was successful

      - Expand the log and find the full path to the app (will be used in the next step)

# Installing App on Device

- Connect the device to the Mac

- In the phone, trust the mac

- Install the app (choose one)

  - Using iTunes

    - Select apps (see picture below)

    - Find the app using Finder

    - Drag the app into the iTunes window

    - Select the phone icon > Apps (you should see the picture below)

    - Select install and sync/apply

  - Using Xcode

    - Menu bar > Window > Devices and Simulators (or just Devices for older versions)

    - Select the device

    - Find the app using Finder

    - Drag the app into the Installed Apps section to install the app (see picture below)

- Trust the apps

  - Device > Settings > General > Device Management

  - For both the Dexcom and WDARunner app, verify the app

# Running Tests

      - Install Dexcom App on the device

        - Download from: https://mobileapps.dexcom.com/estore_v3/

        - Ask login credentials from Misha

      - Run Appium on the Mac Mini

        - Terminal command: /usr/local/bin/node <appium_folder> --address <ip_address> --port 4723 --session-override --automation-name XCUITest

        - Example: /usr/local/bin/node /usr/local/lib/node_modules/appium --address 10.3.103.33 --port 4723 --session-override --automation-name XCUITest

      - Run Mock Server on the PC

# Common Issues

- Test failing with “code 65”

  - Cause 1: WDARunner app is not trusted in the phone

    - Manually place the WDARunner app in the phone

    - See “Installing Appium” step 5 for the path to the app

    - See “Installing App on Device”

  - Cause 2: WDARunner was not codesigned properly

    - Usually happens when using the terminal method when building the app

    - Try using the GUI method

    - Also check the “Resources” for Appium documentation

# Resources

- http://appium.io/docs/en/drivers/ios-xcuitest-real-devices/#appium-xcuitest-driver-real-device-setup

How to get udid:

idevice_id -l